METHOD STATEMENT LIBRARY

METHOD STATEMENT 001 – ELECTRICAL WORK

Project Details

| Company Name | Click or tap here to enter text. |
| --- | --- |
| Client | Click or tap here to enter text. |
| Site Address | Click or tap here to enter text. |
| Project | Click or tap here to enter text. |
| Method Statement Ref | MS-001 |
| Prepared By | Click or tap here to enter text. |
| Date | Click or tap to enter a date. |

Scope of Work

To undertake electrical installation, maintenance, inspection, testing or repair works safely and in accordance with relevant legislation, standards and client requirements.

Sequence of Works

- Attend site and sign in.

- Review Risk Assessments and site rules.

- Establish safe working area.

- Identify and isolate electrical supplies where required.

- Prove dead using approved test equipment.

- Carry out the work.

- Inspect and test installation where applicable.

- Reinstate supplies safely.

- Remove waste and leave work area clean.

- Sign out.

Plant & Equipment and PPE

| Plant & Equipment | PPE Required |
| --- | --- |
| - Insulated hand tools - Electrical test instruments - Battery power tools - Ladders/steps (where required) - Extension leads - Cable detector | - Safety Boots - High Visibility Clothing - Safety Glasses - Gloves - Hard Hat (where required) |

Hazards & Controls

| Hazard | Control Measures |
| --- | --- |
| Electric shock | Safe isolation procedures. |
| Working at height | Suitable access equipment. |
| Trailing cables | Good housekeeping. |
| Power tools | Pre-use inspection. |

Emergency Procedures

- Stop work.

- Isolate electrical supply if safe.

- Contact emergency services if required.

- Report all incidents.

Approval

| Prepared By |  | Approved By |  |
| --- | --- | --- | --- |
| Name | Click or tap here to enter text. | Name | Click or tap here to enter text. |
| Signature |  | Signature |  |
| Date | Click or tap to enter a date. | Date | Click or tap to enter a date. |

Document Ref: MS-001